## Cover
File information:
Created by: | Environmental Resources Management Ltd.
Author: | Rhys Kotak
Reviewer: | Siem van Limpt
Contact: | siem.vanlimpt@erm.com
Client: | UK Power Networks
Recipient: | Sara Afifi
Contents: | Non-domestic heating scenarios
Resolution: | Lower Layer Super Output Area (LSOA)
Licence: | UK Power Networks Distribution Future Energy Scenarios © 2024 by UK Power Networks is licenced under Attribution 4.0 International
Disclaimer:
ERM Limited has prepared the data contained in this workbook in good faith, and has endeavoured to prepare this data in a manner which is, as far as reasonably possible, objective. While ERM Limited has not sought to mislead any person as to the contents of this workbook and whilst the data represent our best view at the time of issue, users of this data should apply caution when using the contents of this workbook. The data in this workbook must be considered as illustrative only of what could occur under different possible futures and ERM Limited does not provide any view on the likelihood of these different scenarios coming to pass. ERM Limited has produced the data contained herein for UK Power Networks under the terms agreed in contract MAA-20190195 expressly for their own use. While ERM Limited agrees to release of this data into the public domain we give no guarantee, express nor implied, with regards to the information in this workbook for use by third parties and therefore do not accept any responsibility for any use that is made of the information contained within this workbook by any third parties, or by UK Power Networks outside of the terms of the agreement.
Glossary
LSOA21CD | Lower layer super output area ID, indicated by their ONS code (2021)
LSOA21NM | Lower layer super output area name, indicated by their ONS code (2021)
MSOA21CD | Middle layer super output area ID, indicated by their ONS code (2021)
MSOA21NM | Middle layer super output area name, indicated by their ONS code (2021)
LAD22CD | Local authority district ID, indicated by their ONS code (2022)
LAD22NM | Local authority district, indicated by their ONS name (2022)
LEP21CD | Local enterprise partnership ID (2021)
LEP21NM | Local enterprise partnership name (2021)
Proportion in {X}PN | Proportion of LSOA that lies within each licence area, by customer count
Majority Licence Area | Licence area within UK Power Networks' network
Primary | Primary substation within UK Power Networks' network
GSP | Grid Supply Point within UK Power Networks' network
Scenario World | The energy system pathway aligned with those of National Energy System Operator
Scenario | The bespoke trajectory developed for each driver of demand
Parameter | Describes what the data represents e.g., battery electric vehicles or generation capacity
Unit | The units of the data e.g., number, kW etc.
Year | The years refer to the regulatory year, so "2025" refers to the period from April 2025 - March 2026
Please note: | The disaggregated LSOA count in this file may not sum to the network level totals due to rounding
Version | Date | Changes | Source file: | Issued by
v1 | 23/03/2026 | 2026 DFES with tRESP and LAEP alignment for the appropriate technologies |  | Ian Walker

## QC report
QC Report
Network-level totals
Units: Number
Licence Area | Scenario World | Parameter | Disaggregated LSOA Total - 2024 | Network Level Total - 2024 | Check | Disaggregated LSOA Total - 2050 | Network Level Total - 2050 | Check | Comments
UKPN | ElectricEngagement | Non-domestic electric resistive heating | 272792 | 272837.2856 | OK | 126779 | 126886.4138 | Ok
UKPN | ElectricEngagement | Non-domestic heat pump | 1679 | 2665.1891 | OK | 383731 | 383747.884 | Ok
UKPN | ElectricEngagement | Non-domestic hybrid heat pump | 435 | 1269.7584 | OK | 19433 | 19511.142 | Ok
UKPN | FallingBehind | Non-domestic electric resistive heating | 272792 | 272837.2856 | OK | 313099 | 313075.1211 | Ok
UKPN | FallingBehind | Non-domestic heat pump | 1679 | 2665.1891 | OK | 5802 | 6663.1019 | OK
UKPN | FallingBehind | Non-domestic hybrid heat pump | 435 | 1269.7584 | OK | 0 | 0 | OK
UKPN | HolisticTransition | Non-domestic electric resistive heating | 272792 | 272837.2856 | OK | 112345 | 112448.9953 | Ok
UKPN | HolisticTransition | Non-domestic heat pump | 1679 | 2665.1891 | OK | 333857 | 333879.5879 | Ok
UKPN | HolisticTransition | Non-domestic hybrid heat pump | 435 | 1269.7584 | OK | 60805 | 60914.4896 | Ok
UKPN | HydrogenEvolution | Non-domestic electric resistive heating | 272792 | 272837.2856 | OK | 189064 | 189147.6097 | Ok
UKPN | HydrogenEvolution | Non-domestic heat pump | 1679 | 2665.1891 | OK | 310345 | 310368.2525 | Ok
UKPN | HydrogenEvolution | Non-domestic hybrid heat pump | 435 | 1269.7584 | OK | 35443 | 35593.2032 | Ok
Units: Number |  |  |  | Year
Licence Area | Scenario World | Parameter | Network-level (unrounded) or Disaggregated | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
UKPN | ElectricEngagement | Non-domestic electric resistive heating | Disaggregated (rounded) | 272792 | 267001 | 259869 | 247927 | 234665 | 224098 | 213378 | 201996 | 190466 | 179629 | 170010 | 161531 | 155523 | 149819 | 143979 | 138213 | 133877 | 130804 | 129135 | 127932 | 126499 | 125543 | 126381 | 126955 | 127435 | 127288 | 126779
UKPN | ElectricEngagement | Non-domestic electric resistive heating | Network-level (unrounded) | 272837.2856 | 267063.9828 | 259910.0696 | 247938.8619 | 234688.7941 | 224088.3617 | 213356.6519 | 201995.3381 | 190531.9777 | 179710.6997 | 170043.2244 | 161585.4296 | 155546.9727 | 149849.9873 | 143981.6804 | 138299.2504 | 133934.0036 | 130826.3104 | 129224.2061 | 127946.8179 | 126543.7164 | 125618.2715 | 126393.735 | 127037.1059 | 127536.6763 | 127350.4979 | 126886.4138
UKPN | ElectricEngagement | Non-domestic heat pump | Disaggregated (rounded) | 1679 | 11128 | 18352 | 28962 | 41162 | 53032 | 65207 | 78423 | 93468 | 106066 | 117699 | 128014 | 150395 | 172824 | 195234 | 217113 | 237206 | 254759 | 270340 | 284982 | 298332 | 311588 | 326301 | 338853 | 353569 | 368026 | 383731
UKPN | ElectricEngagement | Non-domestic heat pump | Network-level (unrounded) | 2665.1891 | 11892.1219 | 18878.4757 | 29210.0078 | 41371.1273 | 53144.0408 | 65308.1549 | 78454.228 | 93539.7196 | 106135.9502 | 117733.362 | 128035.8574 | 150506.3228 | 172888.6852 | 195254.7418 | 217163.9465 | 237242.2574 | 254773.1965 | 270354.4387 | 285019.4772 | 298391.4757 | 311652.7928 | 326339.0702 | 338933.0181 | 353530.0151 | 368016.0928 | 383747.884
UKPN | ElectricEngagement | Non-domestic hybrid heat pump | Disaggregated (rounded) | 435 | 2322 | 4205 | 7378 | 10608 | 11071 | 11591 | 12075 | 12489 | 12905 | 13339 | 13684 | 14345 | 14991 | 15572 | 16199 | 16593 | 17066 | 17357 | 17588 | 17796 | 17974 | 18295 | 18565 | 18852 | 19127 | 19433
UKPN | ElectricEngagement | Non-domestic hybrid heat pump | Network-level (unrounded) | 1269.7584 | 2595.9057 | 4441.2393 | 7623.8653 | 10860.5958 | 11298.6901 | 11776.6805 | 12232.0581 | 12666.0555 | 13065.64 | 13463.3529 | 13801.5417 | 14467.63 | 15098.1911 | 15701.0684 | 16284.8875 | 16684.5983 | 17147.4185 | 17420.4096 | 17664.0697 | 17866.6497 | 18049.2358 | 18376.2441 | 18648.7975 | 18946.5298 | 19204.5666 | 19511.142
UKPN | FallingBehind | Non-domestic electric resistive heating | Disaggregated (rounded) | 272792 | 301489 | 301405 | 301423 | 301425 | 301041 | 301167 | 301370 | 301535 | 301768 | 302091 | 302440 | 302874 | 303303 | 303731 | 304205 | 304278 | 304857 | 305399 | 306046 | 306648 | 307251 | 308582 | 309457 | 310795 | 311740 | 313099
UKPN | FallingBehind | Non-domestic electric resistive heating | Network-level (unrounded) | 272837.2856 | 301473.4015 | 301379.9693 | 301390.0921 | 301430.6695 | 301048.752 | 301165.4714 | 301322.2208 | 301528.3088 | 301760.4547 | 302114.9232 | 302523.819 | 302921.0832 | 303325.7348 | 303750.7803 | 304204.4359 | 304299.9724 | 304885.0598 | 305484.7464 | 306074.162 | 306662.5256 | 307255.6238 | 308585.7793 | 309459.4528 | 310787.8409 | 311708.514 | 313075.1211
UKPN | FallingBehind | Non-domestic heat pump | Disaggregated (rounded) | 1679 | 1760 | 1922 | 2081 | 2259 | 2432 | 2673 | 2908 | 3151 | 3376 | 3640 | 3885 | 4119 | 4403 | 4665 | 4773 | 4860 | 4941 | 5038 | 5152 | 5267 | 5323 | 5403 | 5489 | 5589 | 5691 | 5802
UKPN | FallingBehind | Non-domestic heat pump | Network-level (unrounded) | 2665.1891 | 2689.5581 | 2904.8694 | 3099.8538 | 3298.667 | 3491.5913 | 3748.7976 | 3979.5163 | 4210.3256 | 4442.0101 | 4666.9431 | 4899.0252 | 5128.0667 | 5364.0796 | 5594.94 | 5684.9393 | 5765.9199 | 5850.8814 | 5948.7806 | 6045.8717 | 6142.3654 | 6202.1974 | 6290.6038 | 6371.8683 | 6462.0763 | 6554.509 | 6663.1019
UKPN | FallingBehind | Non-domestic hybrid heat pump | Disaggregated (rounded) | 435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UKPN | FallingBehind | Non-domestic hybrid heat pump | Network-level (unrounded) | 1269.7584 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UKPN | HolisticTransition | Non-domestic electric resistive heating | Disaggregated (rounded) | 272792 | 267578 | 260913 | 248789 | 235506 | 224789 | 213914 | 203143 | 192931 | 183147 | 174487 | 166848 | 159818 | 153041 | 146291 | 139606 | 133991 | 129715 | 126951 | 124553 | 122076 | 120064 | 119255 | 117863 | 116501 | 114519 | 112345
UKPN | HolisticTransition | Non-domestic electric resistive heating | Network-level (unrounded) | 272837.2856 | 267618.3713 | 260940.8448 | 248855.996 | 235484.432 | 224777.3479 | 213879.1369 | 203178.3603 | 193003.647 | 183218.3241 | 174499.3613 | 166887.2728 | 159822.6438 | 153133.4207 | 146310.7332 | 139676.7908 | 134050.1603 | 129743.0737 | 127030.7631 | 124628.4511 | 122128.2646 | 120091.2658 | 119271.5622 | 117922.8289 | 116551.2814 | 114592.5555 | 112448.9953
UKPN | HolisticTransition | Non-domestic heat pump | Disaggregated (rounded) | 1679 | 9677 | 15177 | 23885 | 34591 | 45996 | 57717 | 69493 | 79001 | 87795 | 96046 | 103677 | 122791 | 141974 | 161142 | 180091 | 198025 | 213707 | 227876 | 241076 | 252140 | 263212 | 275835 | 289828 | 304522 | 318789 | 333857
UKPN | HolisticTransition | Non-domestic heat pump | Network-level (unrounded) | 2665.1891 | 10552.1982 | 15840.6836 | 24256.0621 | 34792.5578 | 46133.6478 | 57765.6064 | 69559.9188 | 79048.713 | 87855.2649 | 96132.3978 | 103685.0025 | 122866.9312 | 142015.9574 | 161194.2688 | 180087.9324 | 198070.8593 | 213744.7045 | 227930.5414 | 241099.5243 | 252171.9426 | 263250.8507 | 275829.755 | 289857.1129 | 304497.6075 | 318788.5661 | 333879.5879
UKPN | HolisticTransition | Non-domestic hybrid heat pump | Disaggregated (rounded) | 435 | 2551 | 5619 | 10956 | 16277 | 18852 | 21647 | 24356 | 26865 | 29298 | 31675 | 33794 | 36960 | 40074 | 43071 | 46014 | 48131 | 50109 | 51350 | 52479 | 53489 | 54401 | 55678 | 56902 | 58151 | 59391 | 60805
UKPN | HolisticTransition | Non-domestic hybrid heat pump | Network-level (unrounded) | 1269.7584 | 3381.4411 | 6448.2564 | 11660.6772 | 16935.7443 | 19390.9803 | 22057.0628 | 24689.3346 | 27201.8098 | 29587.6834 | 31940.3881 | 33985.1622 | 37151.5928 | 40243.7425 | 43270.0233 | 46147.737 | 48286.827 | 50223.4795 | 51463.1751 | 52601.7374 | 53597.9518 | 54486.7308 | 55806.7554 | 57023.2903 | 58325.9397 | 59493.2226 | 60914.4896
UKPN | HydrogenEvolution | Non-domestic electric resistive heating | Disaggregated (rounded) | 272792 | 269969 | 266066 | 257384 | 248061 | 241599 | 235255 | 229815 | 225904 | 222003 | 218319 | 215030 | 211899 | 208843 | 205712 | 202630 | 200081 | 197876 | 196199 | 194657 | 193017 | 191649 | 191640 | 190952 | 190554 | 189737 | 189064
UKPN | HydrogenEvolution | Non-domestic electric resistive heating | Network-level (unrounded) | 272837.2856 | 270003.1103 | 266090.8163 | 257429.7801 | 248077.6614 | 241615.0259 | 235217.9675 | 229807.3806 | 225890.4757 | 222015.2971 | 218324.784 | 215063.2291 | 211910.974 | 208863.0162 | 205753.108 | 202666.6956 | 200154.7881 | 197882.7829 | 196266.1182 | 194692.9045 | 193058.3278 | 191715.3963 | 191685.8295 | 191043.1649 | 190630.2227 | 189800.9699 | 189147.6097
UKPN | HydrogenEvolution | Non-domestic heat pump | Disaggregated (rounded) | 1679 | 9050 | 12804 | 20454 | 29451 | 38453 | 47325 | 55719 | 62163 | 68559 | 74995 | 81189 | 99345 | 117685 | 135904 | 154002 | 172115 | 187831 | 202462 | 216625 | 229760 | 242541 | 255820 | 269379 | 283250 | 296547 | 310345
UKPN | HydrogenEvolution | Non-domestic heat pump | Network-level (unrounded) | 2665.1891 | 9927.557 | 13624.0297 | 20959.3535 | 29749.8026 | 38642.0642 | 47421.0913 | 55815.4174 | 62248.4721 | 68627.2641 | 75030.7856 | 81238.1362 | 99480.6741 | 117698.0869 | 135942.5959 | 154066.5419 | 172142.5189 | 187889.7979 | 202528.9154 | 216636.5818 | 229817.7203 | 242565.863 | 255869.5293 | 269395.0791 | 283207.9895 | 296552.2722 | 310368.2525
UKPN | HydrogenEvolution | Non-domestic hybrid heat pump | Disaggregated (rounded) | 435 | 2427 | 4675 | 8170 | 11622 | 12225 | 12965 | 13814 | 14557 | 15303 | 16203 | 17004 | 18698 | 20350 | 21916 | 23465 | 24702 | 26024 | 27207 | 28200 | 29180 | 30073 | 31066 | 32182 | 33289 | 34328 | 35443
UKPN | HydrogenEvolution | Non-domestic hybrid heat pump | Network-level (unrounded) | 1269.7584 | 3125.239 | 5488.9736 | 9001.0537 | 12479.7184 | 13070.5056 | 13717.9325 | 14509.0878 | 15274.6745 | 15999.472 | 16848.75 | 17628.034 | 19263.2652 | 20844.2902 | 22384.0324 | 23881.001 | 25108.7818 | 26372.3809 | 27450.8909 | 28460.8888 | 29399.0219 | 30285.6662 | 31305.6412 | 32385.1314 | 33499.6632 | 34512.936 | 35593.2032
In addition to the above checks, we also carry out tests in the pre-processing of the data, also addressing all years between 2024 and 2050.
Furthermore, we check that minimum and maximum values reported in the outputs are sensible.
ERM Data Sources
Data Source (ERM excel file name) |  |  |  | Year 2024: Purpose of use; Year 2028: User
Small scale PV and storage UKPN V2.22.xlsb